Indoor and Outdoor Property Management Plan

Daily

| Entrances | Hallways, Corridors, and Stairwells |  | Elevators (if applicable) |
| --- | --- | --- | --- |
| - Remove, separate, and dispose of all garbage and recyclables in designated containers - Change garbage bags and clean garbage containers - Vacuum and spot-clean all carpets, mats, and runners - Clean all accessible windows and mirrors - Clean fire alarms - Sweep and wet mop all tiled floors, using clean water with sanitizer - Dust furniture, railings, fixtures, ledges, doors, and frames - Clean mailbox area - Check and replace any burnt-out light bulbs - Report any damages to Operator | - Inspect all stairwells, hallways, and corridors and remove, separate, and dispose of all garbage and recyclables in designated containers - Remove and dispose of any bulk waste - Sweep, vacuum, and wet mop area in front of elevators using clean water with sanitizer - Spot-clean baseboards - Spot-clean exit doors, walls, stairs, and carpets - Remove cobwebs - Report any damages to Operator |  | - Remove, separate, and dispose of all garbage and recyclables in designated containers - Wipe and clean doors, walls, mirrors, rails, etc. - Clean and vacuum vents and first floor elevator tracks - Vacuum rugs, mats, and floors - Sweep, wet mop, spray, and buff tiled floors, using clean water with sanitizer - Remove cobwebs - Check ceiling lights and report any burnt-out bulbs to Operator - Report any damage to Operator |
| Laundry Room | Common Area Kitchens |  | Common Area Washrooms |
| - Remove, separate, and dispose of all garbage and recyclables in designated containers - Change garbage bags and wipe down receptacles - Check and clean dryer lint traps, grills, etc. - Remove cobwebs - Spot-clean machines and walls - Sweep and wet mop floors, using clean water with sanitizer - Inspect washers and dryers for damage - Report any damage to Operator | - Remove, separate, and dispose of all garbage and recyclables in designated containers - Change garbage bags and wipe down receptacles - Check and clean appliances - Check and clean sinks - Clean countertops - Remove cobwebs - Spot-clean appliances and walls - Sweep and wet mop floors, using clean water with sanitizer - Inspect appliances for damage - Report any damage to Operator |  | - Sweep and wet mop floors, using clean water with sanitizer - Clean and disinfect fixtures - Clean mirrors - Change garbage bags, wipe down and wash garbage cans (as needed) - Clean and dust paper dispensers - Refill paper products - Report any damage to Operator |
| Pest Management | Garbage Area |  | Lights |
| - Inspect dwelling units and all common areas for infestation (including kitchen, laundry rooms, hallways, etc.) - Report any damage and infestations to Operator | - Remove and dispose of any and all bulk waste - Clean, wash down, and disinfect garbage bins - Remove cobwebs - Sweep and wet mop floors, using clean water with sanitizer - Report any damage to Operator |  | - Check all building light fixtures (interior and exterior) - Report burnt-out light bulbs or damaged fixtures to Operator |
| Other Common Rooms |  | Exterior of Property |  |
| - Remove, separate, and dispose of all garbage and recyclables in designated containers - Sweep floors - Wet mop floors, using clean water with sanitizer - Change garbage bags, wipe down, and wash garbage cans (as needed) - Remove cobwebs - Report any damage to Operator |  | - Remove garbage and recyclables from building grounds - Undertake snow and ice removal and perimeter salting (as needed) - Check and change bags in garbage containers - Check for any leaks, damage, and other hazardous conditions and take appropriate action to address the hazard(s) - Report all damage (including graffiti) and hazardous conditions to Operator |  |

Weekly

| Hallways, Corridors, and Stairwells | Elevators (if applicable |  | Laundry Rooms |
| --- | --- | --- | --- |
| - Sweep or vacuum and wet mop all hallways and corridors (as well as stairwells, if needed) | - Vacuum elevator tracks on all floors |  | - Clean all machines, walls, and countertops - Sweep and wet mop floors |
| Common Area Washrooms | Garbage Area |  | Common Area Kitchens |
| - Wipe down doors and frames | - Spray disinfecting solution inside of chute door/flap and scrape off all food and debris |  | - Clean and check appliances - Clean sink and countertops - Remove cobwebs - Sweep and wet mop floors |
| Other Common Rooms |  | Exterior of Property |  |
| - Clean windows, ceiling fans, and vents - Sanitize equipment, including furniture |  | - Clean balconies, patios, and porches |  |

Monthly

| Entrance | Hallways, Corridors, and Stairwells |
| --- | --- |
| - Wash all garbage containers - Spray and buff tiled floors - Vacuum and wipe grilles, vents, etc. | - Clean air circulation vents - Dust all fixtures, grilles, and ledges - Clean fire hose cabinets (inside and outside), bell, and pull stations - Sweep and wet mop stairwells - Wipe and clean exit doors and frames - Clean hose cabinets |
| Lights | Exterior of Property |
| - Remove and clean shades on all lights | - Wash and disinfect emptied garbage bins - Maintenance of fences |
| Pest Management |  |
| - Inspect all common areas for infestation (including kitchen, laundry rooms, hallways, etc.) |  |